# DDR Report

PROPERTY ISSUE SUMMARY

Multiple dampness and moisture-related issues were identified during inspection.

AREA-WISE OBSERVATIONS

Hall:
- Skirting level dampness observed.

Bedroom:
- Dampness observed near lower wall sections.

Common Bathroom:
- Tile hollowness detected.

THERMAL ANALYSIS

The thermal report indicates temperature variations that may suggest moisture ingress and hidden leakage zones.

PROBABLE ROOT CAUSE

- Water seepage through walls
- Moisture accumulation
- Possible plumbing leakage

SEVERITY ASSESSMENT

HIGH

RECOMMENDED ACTIONS

1. Inspect plumbing lines.
2. Repair damp affected walls.
3. Waterproof impacted areas.
4. Replace damaged tiles where necessary.

ADDITIONAL NOTES

This report was generated automatically from the inspection and thermal reports.

Inspection Text Sample:
 
 
Inspection Form 
 
Complete 
 
Score 
85.71% 
Flagged items 
1 Actions 
0 
 
Customer Name 
Mobile: 
Email: 
 
 
Address: 
 
 
Property Age (In years): 
Floors: 
11 
 
Previous Structural audit done 
No 
Previous Repair work done 
No 
Inspection Date and Time: 
27.09.2022 14:28 IST 
Inspected By: 
Krushna & Mahesh 
Property Type: 
Flat 
 
 
 
 
Checklists / Inspection Checklists 
 
Checklist: 
 
 
 
Flagged items 
1 flagged 
WC 
External wall 
 
 
 
 
 
 
 
 
Impacted Areas/Rooms 
Hall, Bedr

Thermal Text Sample:
28.8 °C
23.4 °C
27/09/22
Hotspot : 
28.8 °C
Coldspot : 
23.4 °C
Emissivity : 
0.94
Reflected temperature : 
23 °C
Thermal image : RB02380X.JPG
Device : GTC 400 C Professional
Serial Number : 02700034772
1
27.4 °C
22.4 °C
27/09/22
Hotspot : 
27.4 °C
Coldspot : 
22.4 °C
Emissivity : 
0.94
Reflected temperature : 
23 °C
Thermal image : RB02386X.JPG
Device : GTC 400 C Professional
Serial Number : 02700034772
2
27 °C
22 °C
27/09/22
Hotspot : 
27 °C
Coldspot : 
22 °C
Emissivity : 
0.94
Reflected tempe