# DDR Report

PROPERTY ISSUE SUMMARY

Multiple dampness and moisture-related issues were identified during inspection.

AREA-WISE OBSERVATIONS

Dampness observed on north wall
Tile hollowness observed near entrance

THERMAL ANALYSIS

Temperature variations were observed in the thermal report.
These variations may indicate moisture ingress, hidden leakage,
or damp affected areas.

PROBABLE ROOT CAUSE


Possible water seepage through external walls,
moisture ingress, or plumbing leakage.


SEVERITY ASSESSMENT

Severity Level: MEDIUM

Reason:
More than one affected area identified.

RECOMMENDED ACTIONS

1. Inspect plumbing lines.
2. Waterproof affected areas.
3. Repair damp affected wall sections.
4. Replace damaged tiles where necessary.
5. Conduct follow-up thermal inspection after repairs.

MISSING INFORMATION

Customer Name: Not Available
Email: Not Available
Address: Not Available

ADDITIONAL NOTES

This DDR report was generated automatically using
inspection and thermal reports.